## Schedule
Routine and Preventative Schedule
Activity | Lead & Contractor | Timing | Budget | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | Notes
EXTERIOR MAINTENANCE
Parking Lot Snow Removal |  | Winter Months
Walkway Snow Removal Salt & Sand Logs |  | Winter Months
Parking Lot Cleaning |  | Spring/Fall | [13 empty] | Wash and broom
Line Painting |  | Every second year
Fencing |  | Annual - Spring | [13 empty] | Visual inspection and repairs as needed
Railings |  | Annual - spring
Walkways |  | Annual - spring
Exterior Doors |  | Annual - spring | [13 empty] | Latches, weatherstripping, mechanical, etc
Landscaping (lawns, gardens, softscape, hardscape)
Signage (condition, changes/accuracy, etc)
Winterizing (hose bibs, ) |  | Fall/spring
Window Boarding |  | Install in fall/remove in spring
Exterior Lighting Condition
Seasonal Light Timers |  | Seasonal
BUILDING ENVELOPE
Roof Inspection and Assessment |  | Annual inspection - spring
Exterior Drainage |  | Annual inspection - spring | [13 empty] | Working with architect
Window Inspections |  | Annual inspection - spring
Stained Glass Windows |  | Annual inspection - spring | [13 empty] | Call as needed
Foundation Crack Monitoring |  | Ongoing monitoring
Exterior Masonry Condition
Steps (condition, monitoring, )
Repointing |  | Ongoing monitoring
Bell Tower (visual inspection for condition)
Exterior Woodwork |  | Ongoing monitoring
INTERIOR MAINTENANCE
HEALTH & SAFETY SYSTEMS
Annual Fire Inspection
Monthly Fire Alarm Testing |  | Monthly
Check Stairwell Door Closers and Exit Signs |  | Monthly
Fire Extinguishers and smoke detectors |  | Monthly check, replace as needed
Interior Lighting |  | Maintained when necessary
Monitoring System |  | Annual system inspection
Electrical
As Needed
Elevator
Quarterly Maintenance
Organ
Tuning
HVAC
Weekly Boiler Checks |  | Heating months
Boiler Servicing
Steam Fed Rads
Heat Exchanger Steam to Hot Water
Heat Exchanger Hot Water to Air
Blower
Ceiling Fans
Garbage
Bins to Street
Plumbing
Backflow Preventor Inspection
Sump Pump (inspection, status, condition) |  | Annual inspection - spring
Water Treatment
Cleaning
General Building Cleaning |  | Mon-Fri | [13 empty] | Floors everyday, sanctuary floors Thursday, re-supply washrooms
Deep Cleaning |  | Monthly | [13 empty] | Scrub of floors, surfaces, walls, windows etc
Winter Matting Supply |  | November - April with regular vaccuuming
Stripping and Re-Waxing Floors | [15 empty] | Main hall, sanctuary
Chapel and Altar Carpets
Pew Cleaning |  | Bi-weekly
Pest Control
Pest Control Common Area
General Interior Maintenance
Monitoring for water penetration (ceiling, wall, floor)
Crawl space or Crypt (visual inspection, condition)

## Calendar
Routine and Preventative Calendar
January |  | February | March | April
Snow Removal |  | Snow Removal | Negotiate and sign landscaping contract
May |  | June | July | August
Boilers Turned Off
September |  | October | November | December
Annual Fire Testing, Schedule Boiler turn on and maintenance; negotiate and sign snow clearing contract; |  | Boilers Turned On, confirm snow removal contract | Winter Matting installation | Christmas decoration

## Checklist
Routine and Preventative Schedule
Activity | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | Notes
EXTERIOR MAINTENANCE
Parking Lot Snow Removal
Walkway Snow Removal Salt & Sand Logs
Parking Lot Cleaning | [12 empty] | Wash and broom
Line Painting
Fencing | [12 empty] | Visual inspection and repairs as needed
Railings
Walkways
Exterior Doors | [12 empty] | Latches, weatherstripping, mechanical, etc
Landscaping
Signage
Winterizing (hose bibs, )
Window Boarding
Exterior Lighting Condition
Seasonal Light Timers
BUILDING ENVELOPE
Roof Inspection and Assessment
Exterior Drainage | [12 empty] | Working with architect
Window Inspections
Stained Glass Windows | [12 empty] | Call as needed
Foundation Crack Monitoring
Exterior Masonry Condition
Steps (condition, monitoring, )
Repointing
Bell Tower
Exterior Woodwork
INTERIOR MAINTENANCE
HEALTH & SAFETY SYSTEMS
Annual Fire Inspection
Monthly Fire Alarm Testing
Stairwell Door Closers and Exit Signs
Fire Extinguishers and smoke detectors
Interior Lighting
Monitoring System
Electrical
As Needed
Elevator
Quarterly Maintenance
Organ
Tuning
HVAC
Weekly Boiler Checks
Boiler Servicing
Steam Fed Rads
Heat Exchanger Steam to Hot Water
Heat Exchanger Hot Water to Air
Blower
Ceiling Fans
Garbage
Bins to Street
Plumbing
Backflow Preventor Inspection
Sump Pump (inspection, status, condition)
Water Treatment
Cleaning
General Building Cleaning | [12 empty] | Floors everyday, sanctuary floors Thursday, re-supply washrooms
Deep Cleaning | [12 empty] | Scrub of floors, surfaces, walls, windows etc
Winter Matting Supply
Stripping and Re-Waxing Floors | [12 empty] | Main hall, sanctuary
Chapel and Altar Carpets
Pew Cleaning
Pest Control
Pest Control Common Area
General Interior Maintenance
Monitoring for water penetration (ceiling, wall, floor)
Crawl space or Crypt (visual inspection, condition)

## Best Pratices&Reminders
Maintain written record/log of outdoor winter maintenance (for insurance purposes)